## IEC62559-2-CIEMAT
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | CIEMAT-01
| Area/ Domain(s)/ Zone(s) | Energy system/Distribution
| Name of use case | CIEMAT demo-site
1.2 Version management
| Version No. | 0.1
| Date | 2021-11-05
| Name of author(s) | Maria Fotopoulou, Fotis Stergiopoulos, Dimitrios Rakopoulos (CERTH)
Changes
| Approval status | Draft
1.3 Scope and objectives of use case
| Scope | Construction of an AC/DC hybrid grid for the efficient distribution of power generated by Renewable Energy Sources (RES) which mostly produce DC power. | Flexible configuration through Battery Storage System (BSS) for DC-based hybrid grids
| Objective(s) | -Enhancement of the local grid -Efficient incorporation of DC-based RES and storage in a distribution grid -Definition of topology, voltage levels and required equipement for an AC/DC hybrid grid -Construction of novel power converters -Implementation of Energy Management System (EMS) for hybrid grids -Evaluation of the performance of AC/DC hybrid grids in the case of CIEMAT grid.
| Related business case(s) | Efficient and environmental-friendly distribution of energy.
1.4 Narrative of use case
| Short description | Design, construction and evaluation of an AC/DC hybrid grid in CIEMAT, Spain including a variety of RES and storage.
| Complete description | The CIEMAT demo site includes a PV installation, 1-3 wind turbines, two Battery Energy Storage Systems (BESS) and two sorts of loads (AC and DC). Since the majority of these components utilizes DC power, it would be efficient to have an AC/DC hybrid grid. The topology, the required converters, the operation modes, etc. need to be defined and implemented, which is the purpose of TIGON.
1.5 Key performance indicators (KPI)
| ID | kpi_01
| Name | Self-consumption rate
| Description | The ratio of consumed renewable energy over the sum of all renewable electricity generated on site.
| Reference to mentioned use case objectives | Efficient incorporation of DC-based RES and storage in a distribution grid.
1.6 Use case conditions
| Assumptions | -
| Prerequisites | Availability of DC-based power supply (PV, BESS, etc.)
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | Relevant to the AC/DC hybrid grid of the CEA demo site (other use case with the same purpose from the same project).
| Level of depth | Specialised use case
| Prioritisation | This use case is beneficial for grid development and RES implementation. It is mandatory for TIGON.
| Generic, regional or national relation | Generic
| Nature of the use case | Technical/system use case
| Further keywords for classification | Small scale, medium voltage (MV), low voltage (LV)
1.8 General remarks
| General remarks | This use case includes all stages from the theoretical concept up to the construction and evaluation of the AC/DC hybrid grid of CIEMAT.
2 Diagrams of use case
| Diagram name | AC/DC hybrid architecture for the CIEMAT demo site
| Diagram type | Architecture, topology
| Diagram URI type | Image
| Diagram URI value | AC/DC hybrid architecture for the CIEMAT demo site
3 Technical details
3.1 Actors
| Grouping | AC/DC hybrid grid development for the CIEMAT demo site
| Group description | Design, construction and evaluation of AC/DC hybrid pilot grids
| Actor name | CIEMAT's grid operator | Theoretical research entities | Constructors of power electronics | Developers of software applications | CIEMAT's grid
| Actor type | Distribution system operator | Research centres | Construction companies | Software companies | Grid (including distributed resources, loads, buses, lines, etc.)
| Actor description | They shall operate the AC/DC hybrid grid of CIEMAT | Investigation of architectures, requirements, etc. for grid development. | Construction of appropriate DC-based power electronics, including solid state transformers, DC/DC converters, etc. | Developers of energy management systems, dicision support systems, etc. | Power lines, distributed resources, loads, buses, etc.
Further information specific to this use case
3.2 References
| Name | State of the Art of Low and Medium Voltage Direct Current (DC) Microgrids | TIGON D2.2 Demo site grids boundary conditions, overall requirements and operation modes
| No. | 1 | 2
| References type | Review paper | Deliverable
| Reference | Review of topologies, interfaces, applications and standards concerning DC incorporation in AC distribution grids. | Design of the architecture used in the CIEMAT use case
| Status | Published | Finalized
| Impact on use case | High | High
| Originator/organisation | CERTH | CERTH
| Link | https://doi.org/10.3390/en14185595
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1
| Scenario name | CIEMAT demo site: A flexible configuration through BESS for DC-based hybrid grids
| Scenario description | Deployment and integration of AC/DC hybrid solutions in CIEMAT demo site
| Primary actor | CIEMAT's grid operator
| Triggering event | The event is triggered by the necessity for efficient incorporation of RES and storage units (which are usually DC-based) in distribution grids
| Pre-condition | System design, availability of RES and BESS units, construction of respective power converters, energy management system, etc.
| Postcondition | High self-consumption rate, cost reduction, lower peak-demand, etc., which is monitored throuh respective KPIs
4.2 Steps – Scenarios
| Scenario name: | CIEMAT demo site: A flexible configuration through BESS for DC-based hybrid grids
| Step No. | 1 | 2 | 3 | 4
| Event | Need for research regarding AC/DC hybrid system designs | Completion of the previous step, which is the theoretical analysis of the use case | Completion of the previous step, which is the design of the physical architecture | Completion of all previous steps, which provide the means for the deployment of AC/DC hybrid systems in the CIEMAT demo site
| Name of process/activity | Boundary conditions and baseline for TIGON development | Development of physical architecture | Software applications for an efficient monitoring, control and management of the grid | CIEMAT demo site: A flexible configuration through BESS for DC-based hybrid grids
| Description of process/activity | The objective is to define the baseline and key aspects for the correct development and later deployment of the TIGON solutions, including the modelling and characterization of the CIEMAT demo-site as well as the definition of alternative operation modes and ancillary services to be provided to the main grid. | The objective is to design and develop novel physical architectures and grid assets to be implemented at TIGON demo-sites for fostering the implementation of DC-based hybrid grid across Europe | The objective is to develop innovative monitoring, control and management strategies for an optimized operation and performance of hybrid grids based on DC-architectures with the aim of improving the efficiency, resilience and security of TIGON demo-sites. | The objective is to deploy and integrate TIGON solutions in CIEMAT demo-site, with the aim of demonstrating a smart and flexible management of MV DC-based grids linked to energy storage systems and providing stability yo the LV hybrid grid.
| Service | GET | GET | GET | GET
| Information producer (actor) | Theoretical research entities | Constructors of power electronics | Developers of software applications (EMS, DSS, etc.) | CIEMAT's grid operator
| Information receiver (actor) | CIEMAT's grid operator, Constructors of power electronics, Developers of software applications (EMS, DSS, etc.) | CIEMAT's grid operator, Developers of software applications (EMS, DSS, etc.) | CIEMAT's grid operator | CIEMAT's grid
| Information exchanged (IDs) | I-01 | I-02 | I-03 | I-04
| Reference to Scenario number | 1 | 1 | 1 | 1
5 Information exchanged
| Requirement, R-Ids | IS-1 (Information Security) | IS-1 | IS-1 | IS-1
| Information exchanged, ID | I-01 | I-02 | I-03 | I-04
| Name of information | Design of CIEMAT's grid | Construction of CIEMAT's grid components | Software of CIEMAT's grid | Operation of CIEMAT's grid
| Description of information exchanged | Topologies, voltage levels, KPIs, etc. | Details on the constructed power converters, their requirements, etc. | Details regarding the proposed operation of the grid | Operation and evaluation of the constructed AC/DC hybrid grid.
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: Activity, component, functional, sequence, etc..
Note on B40: Lucas Pons Bayarri: image or URL
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## IEC62559-2-CEA
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | CEA-01
| Area/ Domain(s)/ Zone(s) | Energy system/Distribution
| Name of use case | CEA demo-site
1.2 Version management
| Version No. | 0.1
| Date | 2021-11-05
| Name of author(s) | Maria Fotopoulou, Fotis Stergiopoulos, Dimitrios Rakopoulos (CERTH)
Changes
| Approval status | Draft
1.3 Scope and objectives of use case
| Scope | Construction of an AC/DC hybrid grid for the efficient distribution of power generated by Renewable Energy Sources (RES) which mostly produce DC power. | A DC-based grid architecture optimizing the high penetration of
| Objective(s) | -Enhancement of the local grid -Efficient incorporation of DC-based RES and storage in a distribution grid -Definition of topology, voltage levels and required equipement for an AC/DC hybrid grid -Construction of novel power converters -Implementation of Energy Management System (EMS) for hybrid grids -Evaluation of the performance of AC/DC hybrid grids in the case of CEA grid.
| Related business case(s) | Efficient and environmental-friendly distribution of energy. | enewable ener
1.4 Narrative of use case
| Short description | Design, construction and evaluation of an AC/DC hybrid grid in CEA, France including a variety of RES and storage.
| Complete description | The CEA demo site includes 2 PV installations, 1 Battery Energy Storage System (BESS) and load. Since the majority of these components utilizes DC power, it would be efficient to have an AC/DC hybrid grid. The topology, the required converters, the operation modes, etc. need to be defined and implemented, which is the purpose of TIGON.
1.5 Key performance indicators (KPI)
| ID | kpi_01
| Name | Self-consumption rate
| Description | The ratio of consumed renewable energy over the sum of all renewable electricity generated on site.
| Reference to mentioned use case objectives | Efficient incorporation of DC-based RES and storage in a distribution grid.
1.6 Use case conditions
| Assumptions | -
| Prerequisites | Availability of DC-based power supply (PV, BESS, etc.)
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | Relevant to the AC/DC hybrid grid of the CIEMAT demo site (other use case with the same purpose from the same project).
| Level of depth | Specialised use case
| Prioritisation | This use case is beneficial for grid development and RES implementation. It is mandatory for TIGON.
| Generic, regional or national relation | Generic
| Nature of the use case | Technical/system use case
| Further keywords for classification | Small scale, medium voltage (MV), low voltage (LV)
1.8 General remarks
| General remarks | This use case includes all stages from the theoretical concept up to the construction and evaluation of the AC/DC hybrid grid of CEA.
2 Diagrams of use case
| Diagram name | Hybrid architecture for the CEA demo site
| Diagram type | Architecture, topology
| Diagram URI type | Image
| Diagram URI value | Hybrid architecture for the CEA demo site
3 Technical details
3.1 Actors
| Grouping | AC/DC hybrid grid development for the CEA demo site
| Group description | Design, construction and evaluation of AC/DC hybrid pilot grids
| Actor name | CEA's grid operator | Theoretical research entities | Constructors of power electronics | Developers of software applications | CEA's grid
| Actor type | Distribution system operator | Research centres | Construction companies | Software companies | Grid (including distributed resources, loads, buses, lines, etc.)
| Actor description | They shall operate the AC/DC hybrid grid of CEA | Investigation of architectures, requirements, etc. for grid development. | Construction of appropriate DC-based power electronics, including solid state transformers, DC/DC converters, etc. | Developers of energy management systems, dicision support systems, etc. | Power lines, distributed resources, loads, buses, etc.
Further information specific to this use case
3.2 References
| Name | State of the Art of Low and Medium Voltage Direct Current (DC) Microgrids | TIGON D2.2 Demo site grids boundary conditions, overall requirements and operation modes
| No. | 1 | 2
| References type | Review paper | Deliverable
| Reference | Review of topologies, interfaces, applications and standards concerning DC incorporation in AC distribution grids. | Design of the architecture used in the CEA use case
| Status | Published | Finalized
| Impact on use case | High | High
| Originator/organisation | CERTH | CERTH
| Link | https://doi.org/10.3390/en14185595
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1
| Scenario name | CEA demo-site: A DC-based grid architecture optimizing the high penetration of renewable energy
| Scenario description | Deployment and integration of AC/DC hybrid solutions in CEA demo site
| Primary actor | CEA's grid operator
| Triggering event | The event is triggered by the necessity for efficient incorporation of RES and storage units (which are usually DC-based) in distribution grids
| Pre-condition | System design, availability of RES and BESS units, construction of respective power converters, energy management system, etc.
| Postcondition | High self-consumption rate, cost reduction, lower peak-demand, etc., which is monitored throuh respective KPIs
4.2 Steps – Scenarios
| Scenario name: | CEA demo-site: A DC-based grid architecture optimizing the high penetration of renewable energy
| Step No. | 1 | 2 | 3 | 4
| Event | Need for research regarding AC/DC hybrid system designs | Completion of the previous step, which is the theoretical analysis of the use case | Completion of the previous step, which is the design of the physical architecture | Completion of all previous steps, which provide the means for the deployment of AC/DC hybrid systems in the CEA demo site
| Name of process/activity | Boundary conditions and baseline for TIGON development | Development of physical architecture | Software applications for an efficient monitoring, control and management of the grid | CEA demo-site: A DC-based grid architecture optimizing the high penetration of renewable energy
| Description of process/activity | The objective is to define the baseline and key aspects for the correct development and later deployment of the TIGON solutions, including the modelling and characterization of the CEA demo-site as well as the definition of alternative operation modes and ancillary services to be provided to the main grid. | The objective is to design and develop novel physical architectures and grid assets to be implemented at TIGON demo-sites for fostering the implementation of DC-based hybrid grid across Europe | The objective is to develop innovative monitoring, control and management strategies for an optimized operation and performance of hybrid grids based on DC-architectures with the aim of improving the efficiency, resilience and security of TIGON demo-sites. | The objective is to deploy and integrate TIGON solutions in CEA demo-site, with the aim of demonstrating how DC-based grids enable an increased penetration of RES in an efficient, stable and secure way while optimizing the management of diverse grid assets.
| Service | GET | GET | GET | GET
| Information producer (actor) | Theoretical research entities | Constructors of power electronics | Developers of software applications (EMS, DSS, etc.) | CEA's grid operator
| Information receiver (actor) | CEA's grid operator, Constructors of power electronics, Developers of software applications (EMS, DSS, etc.) | CEA's grid operator, Developers of software applications (EMS, DSS, etc.) | CEA's grid operator | CEA's grid
| Information exchanged (IDs) | I-01 | I-02 | I-03 | I-04
| Reference to Scenario number | 1 | 1 | 1 | 1
5 Information exchanged
| Requirement, R-Ids | IS-1 (Information Security) | IS-1 | IS-1 | IS-1
| Information exchanged, ID | I-01 | I-02 | I-03 | I-04
| Name of information | Design of CEA's grid | Construction of CEA's grid components | Software of CEA's grid | Operation of CEA's grid
| Description of information exchanged | Topologies, voltage levels, KPIs, etc. | Details on the constructed power converters, their requirements, etc. | Details regarding the proposed operation of the grid | Operation and evaluation of the constructed AC/DC hybrid grid.
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: Activity, component, functional, sequence, etc..
Note on B40: Lucas Pons Bayarri: image or URL
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.

## IEC62559-2-DSS
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | DSS-01
| Area/ Domain(s)/ Zone(s) | Energy system/Distribution
| Name of use case | Decision Support System (DSS) for the demo-sites
1.2 Version management
| Version No. | 0.1
| Date | 2021-11-25
| Name of author(s) | Sergio Saludes Rodil (CARTIF)
Changes
| Approval status | Draft
1.3 Scope and objectives of use case
| Scope | Design of a Decision Support System (DSS) for optimising the planning, operation and cost-efficiency of AC/DC hybrid grids
| Objective(s) | ·To simulate the hybrid grid in current configuration or with new elements to ancitipate potential failures and malfunctions. ·To provide guidelines related to sizing and operation planning. ·To perform cost-benefit analysis. ·To provide guidelines related to grid restoration after emergency situations.
| Related business case(s) | Efficient and environmental-friendly distribution of energy.
1.4 Narrative of use case
| Short description | Design, implementation and evaluation of Decision Support System for the CIEMAT and CEA demo-sites.
| Complete description | The DSS will be used for the correct design and operation of hybrid grids in a cost-efficiency way. The tool will be able to simulate the demo-sites architectures before actual deployment and it will anticipate possible issues. The tool will allow implementing new grid elements. The tool will consider energy performance and the cost-benefit analysis of the solutions to be implemented. The DSS will help in deriving decisions in emergency situations. It will also provide guidelines related to grid sizing and operation planning.
1.5 Key performance indicators (KPI)
ID
Name
Description
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | -
| Prerequisites | Availability of hybrid AC/DC grid
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | Relevant to the AC/DC hybrid grid of the CEA and CIEMAT demo sites
| Level of depth | Specialised use case
| Prioritisation | This use case is beneficial for grid development and RES implementation. It is mandatory for TIGON.
| Generic, regional or national relation | Generic
| Nature of the use case | Technical/system use case
| Further keywords for classification | Small scale, medium voltage (MV), low voltage (LV)
1.8 General remarks
| General remarks | This use case includes all stages from the theoretical concept up to the implementation and evaluation of the DSS in the CEA and CIEMAT use cases
2 Diagrams of use case
Diagram name
Diagram type
Diagram URI type
Diagram URI value
3 Technical details
3.1 Actors
| Grouping | AC/DC hybrid grid development for the CEA or CIEMAT demo site |  | TIGON's services
| Group description | Design, construction and evaluation of AC/DC hybrid pilot grids |  | Set of algorithmic services developed in TIGON project
| Actor name | CIEMAT or CEDER grid operator | CIEMAT or CEDER grid owner | DSS
| Actor type | Distribution system operator | Grid owner | TIGON's Decision and Suuport System
| Actor description | They shall operate the AC/DC hybrid grid of CIEMAT or CEDER. | They shall make decisions about grid investments or improvement planning | Part of the TIGON's service suite
Further information specific to this use case
3.2 References
| Name | TIGON D4.3 DSS tool for hybrid planning, operation and cost efficiency
| No. | 1
| References type | Deliverable
| Reference | TIGON D2.2 Demo site grids boundary conditions, overall requirements and operation modes
| Status | Not started
| Impact on use case | High
| Originator/organisation | CARTIF
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1
| Scenario name | Sizing guidelines
| Scenario description | Deployment and integration of AC/DC hybrid solutions in CIEMAT demo site
| Primary actor | CIEMAT/CEA grid operator
| Triggering event | The event is triggered by the need of estimating the optimal size of a new grid component
| Pre-condition | Model of the demo-site is available and the DSS can interact with it
Postcondition
4.2 Steps – Scenarios
| Scenario name: | Sizing guidelines
| Step No. | 1 | 2 | 3
| Event | Need for integrating a new element in the AC/DC hybrid grid | New element added to demo-site model | DSS is executed and the optimal size is computed
| Name of process/activity | Espefication of demo-site new functionalities | Model integration | Computation
| Description of process/activity | The manager or operator of the demo-site determines the need for integrating a new element in the demo-site grid. The new element could be among renewable sources, inverter, storage, etc. A performance target is defined by the manager or operator. | The objective is to change the original demo-site model to introduce the new element whose optimal size in terms of power, capacity, etc. is required to know. | Once the model has been updated, the DSS computes the optimal size of the new element according to the defined target by the grid operation or management.
| Service | GET | GET | EXECUTE
| Information producer (actor) | Demo-site manager or operator | Demo-site manager or operator | DSS
| Information receiver (actor) | DSS | DSS | Demo-site manager or operator
| Information exchanged (IDs) | I-01 | I-02 | I-03
| Reference to Scenario number | 1
5 Information exchanged
| Requirement, R-Ids | IS-1 (Information Security) |  | IS-1 (Information Security)
| Information exchanged, ID | I-01 | I-02 | I-01
| Name of information | Required specifications of the new element: position in the grid, type of element,… | New grid model including the new element to be parametrised | Optimal size of proposed new elements in the demo-sites
| Description of information exchanged | Power, energy, capacity |  | Power, energy, capacity
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: Activity, component, functional, sequence, etc..
Note on B40: Lucas Pons Bayarri: image or URL
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.