## IEC62559-2
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | ACCEPT_UC1
| Area/ Domain(s)/ Zone(s) | Component layer, communication layer / DER, Customer Premises / Building, Operation
| Name of use case | Monitoring and Visualization of Metering & Sensor Energy Data in community buildings
1.2 Version management
| Version No. | v1.0
| Date | 2021-10-05
| Name of author(s) | QUE, RINA-C
| Changes | N/A
| Approval status | Approved by ACCEPT consortium
1.3 Scope and objectives of use case
| Scope | The scope of the current use case is to enable collection of high-quality metering and sensing data from a modular and interoperable IoT gateway platform that will also allow for secure communication across actors and components. Also, to provide data visualization means for more efficient communication of events, behaviors and profiles that will allow for deeper understanding. This use case will examine the high value achieved by providing an integrated solution that can be assembled from market available components, act as a hub for off-the-self sensors, meters and actuators, and be compatible for all building types. Depending on the building, different sensors may be needed that need to be integrated into the system
| Objective(s) | 1. Enable the assembling of the IoT gateway from market available components. 2. Integrate off-the-shelf sensors, actuators and meters according to detailed specifications. 3. Enable data collection, ingestion and management through IoT Gateway software components. 4. Provide the means for efficient and meaningful data visualisation through Apps that will give insight and deeper understanding to the users.
| Related business case(s) | BC1 Flexible Aggregator BC2 ESCO offering energy management services BC3 ESCO facilitating P2P flexibility trading BC4 Retailer BC5 Optimized operation via P2P BC6 Heating as a Service provider BC7 Prosumer engagement
1.4 Narrative of use case
| Short description | Precise measurement and quantification of flexibility requires precise collection of data while ensuring a secure and seamless information flow across components and actors. The necessary hardware will consist of market available components and off-the-self sensory and measuring equipment that will operate under a common software stack.
| Complete description | The key for the accurate measurement and quantification of the available demand flexibility, the participation in energy markets, and achieving high level of self-consumption requires to have access to high quality real-time energy information for consumption and production, inputs from sensory equipment and finally to be able to implement control strategies. The variety of scenarios and the case specific needs require a modular solution, compatible with most building types. Therefore, the infrastructure that will allow the data collection, ingestion and management, as well as the seamless information flow across components and actors will be assembled from market available hardware and off-the-self sensors, actuators and meters. Energy needs, consumption patterns, building/user profiles will be presented through a data visualization scheme that will increase the engagement of the user.
1.5 Key performance indicators (KPI)
ID
Name
Description
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | N/A
| Prerequisites | Measuring and quantifying flexibility requires: i) Identification and classification of available building types, ii) Identification and classification of existing loads, iii) Commissioning and installation of equipment in buildings. Also, a set of minimum requirements has to be met by eligible prosumer participants, such as an active internet connection.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | ACCEPT_UC2 “Building self-consumption employing Virtual Thermal Energy Storage optimisation “ To achieve and optimize self-consumption accurate monitoring and measurements are necessary. ACCEPT_UC3 “Consumer demand-side flexibility forecasting” UC1 acts as a starting point in the pipeline from monitoring and metering of building assets towards modeling of the building/occupant and forecasting of flexibility. ACCEPT_UC4 “Demand elasticity profiling-forecasting-aggregation” Monitoring and visualization of devices from UC1 contributes to profiling and aggregation of prosumers ACCEPT_UC8 “Participation in explicit Demand Response schemes” Participation in explicit Demand Response schemes requires accurate monitoring and metering ACCEPT_UC9 “Participation in implicit Demand Response schemes” Participation in implicit Demand Response schemes requires accurate monitoring and metering ACCEPT_UC13 “Increase self-consumption at local community level” To maximize self-consumption at community level accurate monitoring and measurements are required.
| Level of depth | Medium
| Prioritisation | High
| Generic, regional or national relation | Generic
| Nature of the use case | Technical use case
| Further keywords for classification | Monitoring, Visualisation, Energy Data, Sensor, Measurements
1.8 General remarks
| General remarks | Measuring and quantifying flexibility requires: • Identification and classification of available building types. • Identification and classification of existing loads. Commissioning and installation of equipment in buildings. Off-the-self meters, sensors and actuators can provide agility and flexibility however ex-ante pilot surveys are necessary for accurate planning, development of the correct methodology and foreseeing obstacles. Also, a set of minimum requirements has to be set for eligible candidates, such as an internet connection. End users in this use case include consumers, prosumers, building/facility managers and building occupants but also all the various market actors.
2 Diagrams of use case
| Diagram name | ACCEPT_UC1_Use Case Diagram | ACCEPT_UC1_Sequence Diagram
| Diagram type | Use Case Diagram | Sequence Diagram
Diagram URI type
Diagram URI value
3 Technical details
3.1 Actors
| Grouping | ?? | ?? | ??
| Group description | ?? | ?? | ??
| Actor name | Prosumer/Consumer | Building Occupant | Facility/Building Manager
| Actor type | Stakeholder | Stakeholder | Stakeholder
| Actor description | The end user that consumes or produces also in the case of the prosumer | The end user that consumes electricity but is not directly charged | usually not the end user of electricity but is responsible for billing and maintenance.
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | S01 | S02 | S03 | S04
| Scenario name | Request for Visualization | Data Monitoring and Ingestion | Profile Mechanism | Data Visualization
| Scenario description | Combination of Trigerring Event and Post condition sections | Combination of Trigerring Event and Post condition sections | Combination of Trigerring Event and Post condition sections | Combination of Trigerring Event and Post condition sections
| Primary actor | Prosumer | Prosumer | Prosumer | Prosumer
| Triggering event | Data are requested to be fed in the profiling engine for a specific upcoming time horizon. | Sensors and meters are sending data to the application Layer of the Building Information Management Layer. | Normal and cleansed data are fed into the models of the profiling mechanism. | User profile is sent to the Prosumer App.
| Pre-condition | •Installation of essential monitoring and metering infrastructure (e.g. sensors and meters) •Establishment of communication pathway •Prosumer UI Interoperability between subsystems is essential | • Data Handling Infrastructure • Suitable physical and communication infrastructure established in asset | Profile algorithms have been properly trained | Prosumer App has access to the network
| Postcondition | Data are collected, normalized and cleansed (if necessary) | Data are collected, normalized and cleansed (if necessary) | User profile is created/updated | Visualization is created
4.2 Steps – Scenarios
| Scenario name: | S01- “Data Monitoring and Ingestion” | S01- “Data Monitoring and Ingestion” | S02- “Profile Mechanism” | S02- “Profile Mechanism” | S03- “Data Visualization” | S03- “Data Visualization”
| Step No. | St01 | St02 | St01 | St02 | St01 | St02
| Event | Response | Response | Response | Response | Request | Response
| Name of process/activity | Receiving Data from sensors | Data Ingestion | Continuous data flow from BIML to Digital Twin | Human/Building Profiling | Request for visualization | Provide Visualization
| Description of process/activity | The BIML receives data form the various sensors | Data that have been received from sensors are identified, cleansed and normalized | Data received and processed from BIML are sent to the Digital Twin | Data from sensors and meters are fed into the models to create consumer and building profile | User through the Citizen App requests data for visualization
| Service | Management | Management | Management | Management | Prosumer UI | Prosumer UI
| Information producer (actor) | Sensors | BIML | BIML | Digital Twin Model | Citizen App | Consumer Digital Twin Model
| Information receiver (actor) | BIML |  | Digital Twin Model |  | Consumer Digital Twin Model | Citizen App
| Information exchanged (IDs) | INF 1.1 Sensing and metering data | INF 1.2 Processed and cleansed sensing and metering data |  |  | INF 3.1 Request parameters | INF 3.2 Visualized data
| Reference to Scenario number | S01 | S01 | S02 | S02 | S03 | S03
5 Information exchanged
| Requirement, R-Ids | Sensors and meters have been installed properly |  | Internet connection established | Models are calibrated and trained | Internet Internet Connection
| Information exchanged, ID | INF 1.1 | INF 1.2 | INF 2.1 | INF 2.2 | INF 3.1 | INF 3.2
| Name of information | Sensing and metering data | Processed and cleansed sensing and metering data | Processed and cleansed data | User Preferences | Request parameters | Visualized data
| Description of information exchanged | Raw data that have been received from meters and sensors (temperature, humidity, luminance etc.) | Data that have been cleansed | Cleansed and normalized data | Profile of user and building | Parameters for data to be visualized (type of data, time period etc.) | Data read to be visualized
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: Activity, component, functional, sequence, etc..
Note on B40: Lucas Pons Bayarri: image or URL
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.