## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | EACL-HU-01
| Area/ Domain(s)/ Zone(s) | Hungary
| Name of use case | MV feeder voltage control
1.2 Version management
| Version No. | 3
| Date | 2021-08-31
| Name of author(s) | Bálint Hartmann, Péter Sőrés, Bálint Sinkovics
Changes
Approval status
1.3 Scope and objectives of use case
| Scope | Increasing renewable penetration causes violation of standard voltage bands on MV lines. The main scope of EACL-HU-01 is to mitigate voltage variations of MV feeders by activating flexibility services.
| Objective(s) | The objective of the use case is to keep actual voltage values of MV feeders within the standard bands.
| Related business case(s) | EACL-HU-02 “HV/MV transformer overload”
1.4 Narrative of use case
| Short description | Need: Due to the proliferation of PV plants, connected to DSO MV lines or directly to the MV side of HV/MV substations, violation of standard voltage bands on MV lines is a forecoming issue in Hungary. This technical issue can be mitigated by P and/or Q on MV level. Service: Voltage issues of MV feeders can be mitigated by P and/or Q injection/consumption.
| Complete description | The BUC operates on two time horizons, each related to the specified grid service: • capacity auction • and energy activation (scheduled), respectively. Capacity auctions will be driven by technical needs of the DSOs, which are determined on a weekly basis based on weekly maintenance plans. Gate opens at W-1 Monday 0:00 and closes at W-1 Friday 14:00, thus enabling bidders a fairly long time to place bids, but the market can be cleared during working hours on W-1. Results of the auction are to be published by W-1 Friday 15:00. Energy bids can be submitted between W-1 Monday 0:00 and D-1 6:00. The early gate opening supports the procurement of services that are expected to be necessary with probability. The gate closure on D-1 allows SOs to procure services based on day-ahead predictions and network calculations. Results of the clearing are to be published by D-1 7:00, which is 60 minutes ahead of local daily balancing capacity market gate closure, and well before the active period of DAM market bidding. This allows market players to participate on flexibility and day-ahead markets separately, and also supports that uncleared flexibility bids are submitted to shorter horizon markets (DAM, BAM).
1.5 Key performance indicators (KPI)
| ID | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| Name | Number of flexibility service provider assets involved in the service | Ratio of flexibility service provider assets involved in the service | Avoided operational limit violations | Bid success | Market success | Successful market optimization runs | Cost of service | Accuracy of DSO flexibility demand prediction
| Description | There are different assets in the location with flexibility service provision capabilities, which can contribute to the needs of the DSO. The KPI reflects on the number of assets involved. | There are different assets in the location with flexibility service provision capabilities, which can contribute to the needs of the DSO. The KPI reflects on the ratio of involved and total number of assets involved. | The aim of using flexibility services is to mitigate voltage variations of the MV feeders and to avoid possible violations of voltage limits. The KPI reflects on the number and duration of violations avoided. | The ratio of accepted (successful) and submitted (total) flexibility bids. | Flexibility services are one of many possible means to reach the aims of the BUC. The KPI reflects on the ratio of violations avoided by the provision of flexibility services and the violations avoided by other means (redispatch, curtailment, load shedding, etc.). | The ratio of converging auctions of the market of flexibility services. | Minimal, maximal and average prices of capacity auctions and energy activations are reflective on the liquidity of the market. | The DSOs prepare for possible operational issues through the energy activations. As energy bids have to be submitted before D-1 6:00, the accuracy of grid forecasts largely affects the performance of the DSO in using flexibility services. The KPI reflects on the accuracy of DSO flexibility demand predictions by calculating the ratio and volume of expected and actual flexibility service needs.
Reference to mentioned use case objectives
1.6 Use case conditions
Assumptions
| Prerequisites | DSO requires P and/or Q to keep actual voltage values of MV feeders within the standard bands. | FSP capable of providing P and/or Q is located at the bidding zone
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | EACL-HU-02
| Level of depth | Generic use case
Prioritisation
| Generic, regional or national relation | National
| Nature of the use case | Business Use Case
| Further keywords for classification | MV line, DSO voltage control
1.8 General remarks
General remarks
2 Diagrams of use case
Diagram name
Diagram type
| Diagram URI type | EACL-HU-01_use_case_overview | EACL-HU-01_scenario1_activities | EACL-HU-01_scenario2_activities | EACL-HU-01_scenario3_activities | EACL-HU-01_scenario4_activities
Diagram URI value
3 Technical details
3.1 Actors
| Grouping | Bidding zone, Metering point
| Group description | The actors are grouped by the two layers of the market structure: the operation area of each participating DSO, and the location of metering points (i.e. HV/MV transformer supply area)
| Actor name | DSO | TSO | FSP | Market operator | OneNet common platform
| Actor type | • Grid Access Provider • Data Provider • System operator | • System Operator • Data Provider | • Flexibility/Balancing Service Provider • Resource aggregator • Producer / Consumer • Party connected to the grid • Flexibility service provider being aggregator | • Market operator • Data Provider • Merit Order List Responsible | • Flexibility register provider // consent administrator • TSO-DSO coordinator platform provider // coordinated cap. calculator • Market interface provider / market information aggregator
| Actor description | Active actor Responsible for maintaining service quality (e.g. EN 50160) and quantifying flexibility service needs Participates in energy auctions and energy activations | Passive actor Receives information on capacity auctions and energy activations | Provides services for the DSO Provides information to the TSO in case of activations through schedules | Responsible for market clearing | Responsible for the necessary TSO-DSO coordination
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
| Link | https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1 | 2 | 3 | 4
| Scenario name | Prequalification | Forecasting | W-1 flexibility procurement | D-1 flexibility procurement
| Scenario description | Product and grid prequalification | DSO determines the volume and spatial-temporal location of flexibility needs | Collection of supply bid in the order book, market clearing in W-1 | Collection of supply bid in the order book, market clearing in D-1
| Primary actor |  | DSO | Market operator | Market operator
| Triggering event |  |  | time, Gate Opening of W-1 capacity market | time, Gate Opening of D-1 capacity market
Pre-condition
Postcondition
4.2 Steps – Scenarios
| Scenario name: | Prequalification | Prequalification | Prequalification | Prequalification | Forecasting | Forecasting | Forecasting | Forecasting | Flexibility procurement W-1 | Flexibility procurement W-1 | Flexibility procurement W-1 | Flexibility procurement W-1 | Flexibility procurement W-1 | Flexibility procurement W-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1 | Flexibility procurement D-1
| Step No. | 1.1 | 1.2 | 1.3 | 1.4 | 2.1 | 2.2 | 2.3 | 2.4 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 4.1 | 4.2 | 4.3 | 4.4 | 4.5 | 4.6 | 4.7 | 4.8 | 4.9 | 4.10
Event
| Name of process/activity | Prequalification request | Product and grid prequalification | Approval of prequalification | Prequalification results | DSO receives data for modelling flexibility needs | DSO determines flexibility needs | DSO informs TSO on flexibility needs | DSO delivers flexibility needs | Flexibility market opening, DSO needs announced | FSPs submit bids | W-1 and D-1 FSP bid prequalification | FSP bids delivered | Clearing | Results of the clearing are transferred and announced | DSO receives data for modelling flexibility needs | DSO determines flexibility needs | DSO informs TSO on flexibility needs | DSO delivers flexibility needs | Flexibility market opening, DSO needs announced | FSPs submit bids | D-1 FSP bid prequalification | FSP bids delivered | Clearing | Announcement
| Description of process/activity | FSP requests prequalification | DSO executes prequalification | DSO informs FSP of the prequalification result | Prequalification result is sent to the Market Operator (MO) | DSO collects past grid and external forecasting data | DSO determines the amount and spatial-temporal location of service needs | DSO-TSO data exchange | DSO informs MO of the flexibility needs | Market interface announces flexibility needs | FSP submit bids to W-1 & D-1 order book | FSP bid prequalification by MO | FSP bids are submitted to W-1 & D-1 order book | Clearing is executed | Market operator shares clearing result with the market interface | DSO collects past grid and external forecasting data | DSO determines the amount and spatial-temporal location of service needs | DSO-TSO data exchange | DSO informs MO of the flexibility needs | Market interface announces flexibility needs | FSP submit bids to D-1 order book | FSP bid prequalification by MO | FSP bids are submitted to D-1 order book | Clearing is executed | Market operator shares clearing result with the market interface
Service
| Information producer (actor) | FSP | DSO | DSO | DSO | DSO | DSO | DSO | DSO | 1)Market Operator (MO) 2) MO (market interface) | FSP | MO | MO (flexi register) | MO | MO | DSO | DSO | DSO | DSO | 1) MO (order book) 2) MO (market interface | FSP | MO | MO (flexi register) | MO | MO (market interface)
| Information receiver (actor) | DSO | DSO | FSP | MO (Flexi register) | DSO | DSO | TSO | MO (W-1 & D-1 order book, market interface) | 1) MO (order book) 2) FSP | MO (flexi register) | MO | MO (W-1 & D-1 order book) | MO | MO (market interface) | DSO | DSO | TSO | 1) MO (W-1 & D-1 order book) 2) MO (market interface) | 1) MO (order book) 2) FSP | MO (flexi register) | MO | MO (D-1 order book) | MO | MO (market interface)
| Information exchanged (IDs) | I-01 |  | I-02 | I-03 | I-04 |  | I-05 | I-05 | I-05 | I-06 |  | I-06 |  | I-07 | I-08 |  | I-05 | I-05 | I-05 | I-06 |  | I-06 | I-07
| Reference to Scenario number | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
5 Information exchanged | Requirement, R-Ids
| Information exchanged, ID | I-01 | I-02 | I-03 | I-04 | I-05 | I-06 | I-07 | I-08
| Name of information | FSP initialization data for prequalification | FSP qualification result | FSP qualification result | Historical grid operation dataset for flexibility service need modelling (W-1) | Flexibility service need | FSP supply bid | Clearing result | Weather forecast and historical grid operation dataset for flexibility service need modelling (D-1)
| Description of information exchanged | Type of service unit identifier (name, location, technical parameters) | Status of FSP prequalification (successful/ not successful); | Location identifier and product parameters (ID, POD, P, Q, activation time, sensitivity factor), assignment of FSP to congested substation/MV feeder | Grid condition status and outage from maintenance; Time series data of consumer/prosumer/ producer plans; Historical data for production forecasting (either profile or time series); | Quantity, type (capacity/activation), bid price, location, timing of demand | W-1/D-1 priced bid (+additional parameters) | General action (clearing) results; List of accepted bids | Weather forecast; Grid condition status and outage from maintenance; Time series data of consumer/ prosumer/ producer plans; Historical data for production forecasting (either profile or time series);

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.