## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | EACL-PL-03
| Area/ Domain(s)/ Zone(s) | Poland
| Name of use case | Event-driven Active Power Management for Congestion Management and voltage control by the DSO
1.2 Version management
| Version No. | 0.9
| Date | 2021-09-10
| Name of author(s) | Wojciech Lubczyński and Dominik Falkowski (PSE)
Changes
Approval status
1.3 Scope and objectives of use case
| Scope | The scope of BUC covers the use by the distribution system operator (DSO) of the service providers' active power capabilities to eliminate congestion and voltage violations in the distribution network. The services would be purchased using an IT Flexibility platform on market condition
| Objective(s) | • Elimination of congestion in the distribution network using active power • Elimination of voltage violations in the distribution MV and LV network, using active power • Coordination of TSO and DSO activities in the field of congestion management and voltage control
| Related business case(s) | Prequalification, DA BAL
1.4 Narrative of use case
| Short description | Scenario 1 This scenario describes actions that need to be performed as a first for acquiring services from the market. It focuses on the bidding process for the congestion management and voltage control for DSOs needs in the cases of day ahead auctions and medium term auctions. In both cases procedure is the same. The difference is in the timeline of each step. In the case of the medium term auction, DSO in the first step pays for the capacity from FSP for the selected period of time and in case of activation, DSO pays for the energy. In the case of the bids selected in the Day ahead auctions, DSO pays for the energy, • Selection/Bidding Description: The process of selecting offers from the market to solve the DSO problem related to network congestion or voltage violations with the use of active power management. The DSO opens an auction with detailed information about the location affected by the problem and providing all the required parameters to receive offers. Offers are submitted by FSPs who have successfully passed the prequalification process. Before selecting an offer, network analyses are performed, which eliminates offers that have a negative impact on the operation of the DSO network reporting the need or others DSOs. In detail, it includes: o DSO calls the auction on the Flexibility Platform for an action related to active power change for a strictly defined network area for the congestion or voltage violations as a result of the event in the network. The triggering event will be different for the day ahead auctions and the medium term auctions. o Flexibility Platform informs FSPs about the new need for service from the DSO side and the appearance of the auction. Flexibility platform collects all bids submitted within the specified by DSO time frame o The MOL stack is created o Collected offers are analysed in terms of the possibility of solving a network problem, taking into account the impact on networks of others DSOs (in the case under consideration and in the specific network operation state) o Choosing the optimal offers o Based on analysis an offer / offers that allow to remove congestion or solve voltage problems from the network are selected. o The selected offer or offers are stored by the flexibility platform, then dispatched the day before delivery and added to the group of offers sourced in the day-ahead process.
| Complete description | The process carried out on the Flexibility Platform in day-ahead time frame consists of the following steps: Scenario 1 – Determination of TSO needs in terms of capacity • Every morning TSO also announces information on the constraints in the network. • The Flexibility Platform Operator (FPO) takes the above-mentioned information from TSO and makes it available as soon as possible on the Flexibility Platform to interested parties. • Every morning the Flexibility Platform may also make available information on the constraints in the distribution network that may affect the technical feasibility of potential offers for balancing capacity products and balancing energy. | Scenario 2 This scenario describes the process of activation FSPs resources, previously acquired bids by the DSO during the auction. This process will be used for Day ahead auctions and medium term auctions with some of the additional steps for the medium term cases. The main difference is the verification in the day ahead if the activation of medium term bid is needed. • Delivery for DSO: o Activation of offers is initiated by the DSO, which sends information to the flexibility platform, which then sends activation requests to individual FSPs. o Selected FSPs activate their DERs and acknowledge it by sending a message to the flexibility platform. o DSO monitors delivery in near real time. Remark: In the case when the service for the needs of DSO is performed through the balancing product that was also selected in the balancing process, the activation rules are the same as for the balancing market. | Scenario 3 This scenario describes settlement for auctions of both described previously cases: day ahead and medium term auctions. • Settlement (carried out periodically) consists of: o Gathering information about DER and DERs that successfully delivered the services – active power and/or active energy. o Use of the baseline for all required DERs and DERs for a specific period of time. o Provision of metering data for all required DERs and DERs for a specific period of time. o Confirmation that the activated services have been successfully delivered. o Identification of services that were not or partially performed. o Create information for the settlement of balancing services for each BSP, including penalties. o Create information for the settlement of CM and VC services by FSPs for DSOs, including penalties.
1.5 Key performance indicators (KPI)
ID
Name
Description
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | The use case assumes a single market place operated by Flexibility Platform The Flexibility Platform is dedicated mainly to resources connected to MV and LV networks Resources need to be described by location (e.g. by Point of Connection) Flexibility Service Providers and System Operators do not need their own applications to connect to the Flexibility Platform. They have direct access to the relevant functionalities of Flexibility Platform There is a separate use case that allows introducing of TSO, DSO, BSP and products There are FSPs that have successfully passed the pre-qualification process for a needed product. The coordination between DSO and TSO is established in case of the day ahead balancing and congestion management and voltage control actions.
| Prerequisites | Identification of congestion or voltage violation in the DSO network that may arise in day ahead perspective using dispatcher tools Identification of potential congestion or voltage violation in the DSO network in the medium term as a result of planned work and maintenance in the network using planning tools.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | EACL-PL-01 Prequalification, EACL-PL-02 Balancing
Level of depth
Prioritisation
| Generic, regional or national relation | National Polish Flexibility Market
| Nature of the use case | Business Use Case
| Further keywords for classification | Medium term, day ahead, planed work DSO, Operational, Congestion management, Voltage control, voltage violation
1.8 General remarks
| General remarks | • Business Use Case is product agnostic. • Business Use Case is designed to handle resources connected to MV and LV grid
2 Diagrams of use case
| Diagram name | EACL-PL-03 Use case | EACL-PL-03 CM VC for DSO_BUC overview
Diagram type
Diagram URI type
Diagram URI value
3 Technical details
3.1 Actors
Grouping
Group description
| Actor name | Transmission System Operator (TSO) | Distribution System Operator (DSO) | Flexibility Service Provider (FSP) | Market Operator (MO) or Flexibility Platform Operator (FPO) | Flexibility Service Provider being Aggregator (FSPA)
| Actor type | Business | Business | Business | Business | Business
| Actor description | A natural or legal person who is responsible for operating, ensuring the maintenance of and, if necessary, developing the transmission system in a given area and, where applicable, its interconnections with other systems, and for ensuring the long-term ability of the system to meet reasonable demands for the transmission of electricity | A natural or legal person who is responsible for operating, ensuring the maintenance of and, if necessary, developing the distribution system in a given area and, where applicable, its interconnections with other systems, and for ensuring the long-term ability of the system to meet reasonable demands for the distribution of electricity | A natural or legal person who is a market participant providing flexibility services to any electricity market that represents and aggregates the capacity of the entities that own a distributed energy resources (DER). | A natural or legal person who organizes auctions (continuous auction, discrete auctions, call for tenders) between buyers and sellers of electricity-related products in the markets. Manage/operate the platform for trading (where bids and offers are collected). Clear the market and communicate results. | A party who is a market participant providing flexibility services to any electricity market that represents and aggregates the capacity of the entities that own a distributed energy resources
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1 | 2 | 3
| Scenario name | Selection/Bidding for mid-term and day-ahead | Delivery for DSO | Settlement
| Scenario description | Based on the results of network analyzes the DSO identifies the problem with congestion or voltage violation in the distribution network as a result of the specific event. In the case of scheduled works, it can be . specific network configuration, preventing the execution of the planned work. For the day ahead operational the cause of the network problem may be related to deviation in the forecast or some network failure that has an impact on the grid configuration. The DSO decides to launch an auction in order to take advantage of the available sources of flexibility in the market to guarantee that the correct grid operation during normal operational and planned work is under consideration. The auction is launched a day ahead or several weeks in advance for planned works and concerns active power control activity by customers connected to specific locations in the distribution network for which problems have been identified. In case of medium term auctions launched for planned works, DSO contracts capacity and energy from FSP. One of the key elements is coordination between DSO and TSO in the field of contracting bids for CM and balancing. Coordination is needed so that the actions of one party do not cause problems for the other party. Thanks to the coordination of activities, it is also possible to obtain an optimal solution in economic terms (solving balancing and CM problems using the same offers). | Activation and delivery of the offer by a strictly defined FSPs resource under the previously contracted offer for the DSO. After contracting the offer under scenario 1, the DSO performs the final assessment of the feasibility of planned work and the legitimacy of using the offer. After the final confirmation of the necessity to activate the offer for medium term auctions, the DSO sends information to the platform operator about the commencement of activation of the contracted offer. Based on the information received from the platform operator, the FSP activates his resource and provides the service following the contracted offer. The DSO supervises the execution of the offer by the client in real-time. | Market platform operator collects all data that are necessary to create an invoice for the provided services. Base on the contracted bid, baselines and meter data MPO verifies which offers have been made correctly, which have been partially made and those that have not been performed. Performs financial calculations and prepares invoices.
| Primary actor | DSO | DSO | MPO
| Triggering event | Call for auction by DSO for the specific location | Final confirmation by the DSO of the legitimacy of activating the client's resource | End of the billing period
| Pre-condition | DSO identify congestion or voltage violation for the planned work in the network using analytic tools for planning or in case of the day ahead auctions, by using dispatchers tools | Selected and contracted bid that solves problems in the DSO network related to day ahead problems or planned work in terms of congestion and voltage violation as part of the previously launched auction by DSO | At least one activation of the contracted service has been performed in a given billing period. MPO has all the information on the offers and services provided and it is possible to obtain measurement data from customers' meters.
| Postcondition | When bids are matched, flexibility of the market is contracted for use in the future for congestion management or voltage violation by the DSO. | Delivery of the service by the customer by the submitted and contracted offer by the client, which solves problems in the DSO network related to planned work or random events that was detected the day before. | Settlements were made for all services whose delivery was completed in a given billing period. Invoices for system operators have been sent.
4.2 Steps – Scenarios
| Scenario name: | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Selection/Bidding for DSOs needs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Activation and delivery of the offer only for DSOs | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement | Settlement
| Step No. | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 1.1 | 1.11 | 1.12 | 1.13 | 1.14 | 1.15 | 1.16 | 1.17 | 1.18 | 1.19 | 1.2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 3.1 | 3.11 | 3.12 | 3.13
Event
| Name of process/activity | The DSO calls a new auction | Notification about new auction | Biding by FSP | Gathering bids | MOL creation | The transfer of data to the DSO | Collecting own data for analysis by DSO | Request for additional data for analysis | Sending of additional data | Network estimation and analysis | Technical validation of offers | MOL update by DSO | Sending update MOL to platform | Final stack update and bid analysis | Selection of the offer | End of the auction | Auction results: FSPs | Confirmation: DSO | Confirmation: SO | Information on the plan for the use of the contracted service | Final verification of need by DSO before activation | resource activation is needed | no need to activate the resource | Sending a signal for activation by the DSO | Sending an activation signal to the FSP | Confirmation of receipt of activation by the customer | Provision of the service | Termination of the service | Supervision over the network | Gathering information about the services provided | Request to submit base line | Sending base line by clients | Request for meter data | Collection of meter data | Sending of meter data | Verification of the correct delivery of the service | List of unkept contracts | Informing FSPs who have not kept their contracts | Calculation of the payment for each offer | Preparation of invoices | Issue of invoices for DSO | Sending confirmation of receipt of the invoice | Notifying the recipient about issuing an invoice
| Description of process/activity | The DSO calls the auction due to identified congestion or voltage violation problems linked to the future problems in the network . | The platform operator, based on the request from the DSO, sends notification about new auction for the active power management service in accordance with the parameters provided by the DSO | FSPs who wish to participate in the auction and have passed the pre-qualification process submit their bids to the platform | Flexibility Platform Operator closes the auctions at the appointed time and collects all submitted bids | The platform creates a Merit order list based on the collected offers, | The platform sends the MOL to the DSO that launched the auctions to verify their impact on the network | The DSO obtains measurement data, profiles and forecasts for the selected network area | DSO sends a request to other market participants to provide additional data needed for the analysis (TSO, OSDn) | Market participants send additional information requested by the DSO who launched the auction | Based on the acquired network data, the network operation status is estimated | DSO performs an analysis of the impact of individual offers on the network and the possibility of network solving the problem in the selected area of the network using power flow analyzes | The DSO updates the stack of offers based on the results of the power flow analyses performed | The DSO sends information which of the pre-sent offers give the expected technical result | The Flexibility platform operator updates the stack of offers and analyses the MOL taking into account the economic and technical conditions | The Flexibility platform operator selects the optimal offer that meets technical and economic expectations | In case of divergent prices expected by DSOs and submitted by FSP, the auction is terminated | The platform informs the FSPs who participated in the auction about its result. If an offer is selected, it informs the relevant customer about the selection of its offer | The platform informs the DSO about the auction result and possibly about the selection of tghe optimal offer | If an offer is selected, the platform provides information to the TSO about the planned use of the offer on a strictly defined date | Entering the selected offer for a given day into the activation plan to include it in the analyzes for the day ahead (in case of the MT auctions) | The DSO performs the final analysis verifying the possibilities and legitimacy of activating the previously contracted offer (in case of the medium term auctions) | positive verification indicating the need to activate the resource purchased under the auction | termination of the process due to the disappearance of the need for flexibility services | After the DSO decides the necessity and legitimacy of the offer activation, it sends information to the platform with a request to start the resource activation procedure. | The flexibility platform operator sends a signal with information about the need to activate the FSPs resource under the contracted service | The client sends a confirmation to the flexibility platform operator about receiving the activation signal | FSP starts providing the service following the contracted offer and sends such information to the platform operator | The customer ends the service following the contracted offer and sends such information to the platform operator | The DSO supervises and verifies in real time the provision of the service by the FSP based on the information received from the platform operator and its network monitoring systems. In case when the provided service is not sufficient to solve problem, DSO use nonmarket solutions to solve the problem that appears in the network. | Collecting by the flexibility platform operator information about all contracted services in a given period | The flexibility platform operator sends a request for customers to provide all the baselines needed for the billing of services | FSP send baseline for the indicated resources | The flexibility platform operator sends a request to provide metering data from meters to the indicated clients for a specified period when the service was provided | Based on the platform operator's request, the entity responsible for the measurement data prepares a statement with data from meters for the indicated customers and for a given period | The DSO provides a file with measurement data for each of the FSPs indicated by the platform operator | The platform operator verifies the correctness of the delivery of each of the contracted offers based on the received meter and baseline data. | The platform operator compiles a list of offers that have not been properly delivered (only partially provided and those services that have not been delivered at all). For each of these offers, it identifies differences and deviations from the contracted offer. | The platform operator sends information about failure to meet the conditions of the submitted offers to the appropriate FSP | The platform operator, based on the previously performed analysis of the performance of each offer, makes financial calculations and determines what amounts should be paid for each of the offers. The calculations also take into account any fines charged for failure to perform the service following the contract. | The platform operator automatically prepares relevant documents and generates invoices | The platform operator sends the appropriate invoice to the DSO | DSO sends confirmation of receipt of the invoice, from which the time of payment for the provided service is calculated | The platform operator sends the FSP a confirmation that the invoice has been issued and received by the DSO
| Service | Creates | sends | Sends | Collects | Creates | sends | collects | sends | sends | calculates |  | update | sends | Selects | Selects | Selects | Sends | Sends | Sends |  |  |  |  | sends | [5 empty] | gathers | sends | Sends | Sends | collects | sends | verifies | verifies
| Information producer (actor) | DSO | FPO | FSP | FPO | FPO | FPO | DSO | DSO | SO | DSO | DSO | DSO | DSO | FPO | FPO | FPO | FPO | FPO | FPO | FPO | DSO |  |  | DSO | FPO | FSP | FSP | FSP | DSO | FPO | FPO | FSP | FPO | DSO | DSO | FPO | FPO | FPO | FPO | FPO | FPO | DSO | FPO
| Information receiver (actor) | FPO | FSP | FPO | FPO | FPO | DSO | DSO | SO | DSO | DSO | DSO | DSO | FPO | FPO | FPO | FPO | FSP | DSO | SO | FPO | DSO |  |  | FPO | FSP | FPO | FPO | FPO | DSO | FPO | FSP | FPO | DSO | DSO | FPO | FPO | FPO | FSP | FPO | FPO | DSO | FPO | FSP
| Information exchanged (IDs) | DSO FPO: Area (Network localization), volume of active power, delivery time, auction duration, maximum price for the bids; FPO FSP: Infomration about new auction: Area (Network localization), volume of active power, delivery time, auction duration; FSP FPO: customer ID, price, active power volume, ID of the resource indicated for the provision of the service,; FPO DSO: Localization of the source, ID of the offer, active power volume,; DSO DSO: Measurement data, load and generation profile, network topology; DSO SO: Measurement data, load and generation profile,; SO DSO: Measurement data, load and generation profile,; DSO FPO: ID of the offer that passed the network analysis process positively; FPO FSP: Information about the choice (or not) of a given offer; FPO DSO: Information about the end of the auction and possible selected offer: location, price, power, planned date and time of delivery of the contracted bid; FPO SO: Information about the end of the auction and possible selected offer: location, power, planned date and time of delivery of the contracted bid; FPO FPO: location, power, planned date and time of delivery of the contracted bid |  |  | Id of the offer to be activated along with information about the scope of the change in active power | Activation signal | Feedback confirming receipt of the activation signal | Information about the start of service by FSP | Information on termination of service provision by FSP |  |  |  |  | List of PoC with periods that are needed for billing |  | Summary of measurement data for the indicated PoC for a specified period |  |  | Information on the deviation of the service performance compared to the offer |  |  | Invoice for the service provided | Confirmation of receipt of an invoice (can be generated automatically) | Information on receipt of the invoice by the DSO
Reference to Scenario number | bar: FPO FPO to FPO FPO
5 Information exchanged | Requirement, R-Ids | bar: FPO FPO to DSO DSO
Information exchanged, ID | bar: FPO FPO to DSO DSO
Name of information | bar: FPO FPO to DSO DSO
Description of information exchanged

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.