## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | WECL-PT-01
Area/ Domain(s)/ Zone(s)
| Name of use case | Exchange of Information for Congestion Management – Short Term
1.2 Version management
Version No.
| Date | 2021-07-05
| Name of author(s) | E-REDES NESTER REN INESC TEC
Changes
Approval status
1.3 Scope and objectives of use case
| Scope | This BUC is focused on describing in detail each process phase of the ASM report, stating what information should be exchanged and what rules should be established between DSO and TSO in order to procure congestion management products for short-term (intraday, day-ahead).
| Objective(s) | 1- Design and detail each process phase of ASM report so that it can serve as a basis for future developments. 2- Coordination of the use of flexibility for different voltage levels. 3- Identify what information should be shared between DSO and TSO for each of the flexibility procurement process phases for short terms congestion management, namely for the technical selection and validation of the bids by the relevant system operator. 4- Develop information exchange mechanisms to enable market-based procurement of flexibility products.
| Related business case(s) | WECL-PT-02, WECL-PT-03
1.4 Narrative of use case
| Short description | Flexible resources connected to transmission and distribution system can provide flexibility to system operators to eliminate congestions through a market mechanism. This BUC in transmission and/or distribution system, in order to keep power flows within the accepted thermal limits of the lines. These information exchanges of information mechanisms should be adaptable to any future market model or governance issues. Some different time frame markets will be examined: • Day Ahead • Intraday For each time frame, we will approach some of the following process phases of ASM report: - Prepare/Pre-qualification: The process in which it is checked whether a unit can deliver the product it intends to sell, taking into account the network conditions. - Plan/Forecast: Planning of grid utilization and identifying potential congestions. - Market Phase: Bids collection and selection, short-term contracts (capacity products) and short-term products/services (selection of energy products) - Monitoring and Activation: Grid monitoring and flexibility bids activation to solve the forecasted congestion management - Measurement and Settlement phase: Validation of delivery Some of the above process phases may be similar for both time frames. In this Business Use Case, the measurement and settlement phase will not be addressed. The developed information exchange mechanisms will be implemented in order to have a verification process.
| Complete description | Flexible resources connected to transmission and distribution system can provide flexibility to system operators to eliminate congestions through a market mechanism. This BUC describes the exchanges of information and the processes that should be established for different scenarios: pre-qualification, plan/forecast, market phase and monitoring and activation phase. For each scenario, we will always take into account different timeframes (intraday and day-ahead) and how they are related. Pre-qualification The pre-qualification process should start after a flexibility service provider expresses interest in entering the flexibility market. This process serves to ensure that a particular flexibility service provider is capable of delivering a given product. In order to do that, two types of pre-qualification should be considered: Product Pre-qualification and Grid Pre-qualification. The former ensures that the resource contains the technical requirements to be able to deliver the product and proceed to the market phase and eventually selected by a system operator. These technical requirements are defined by DSO and TSO and after the FSP indicates the attributes of the product it wants to deliver, a pre-qualification test should be performed to verify that all attributes are in compliance with the technical requirements. This test may be repeated on a periodic basis or whenever the characteristics of the product are found to change significantly. The product pre-qualification can be done either by the DSO or TSO, regardless of its location. In case a system operator wants to activate a product already pre-qualified by another system operator, the former should have access to this information in order to make the process more efficient and not to pre-qualify the same product twice. Regarding grid pre-qualification, this process ensures that the product provided by the Flexible Service Provider will not cause constraints in the networks where it is connected. This process can be avoided if the System Operators have already identified the areas where flexibility is always allowed. The grid pre-qualification should be performed by the System Operator of the network to which the product is connected in order to verify if the maximum capacity of the product does not impact the network it is connected to. If the results of the two types of pre-qualification are approved, the entry of the FSP into the flexibility market is allowed. The Pre-qualification scenario is independent of the time-frame, since it is a process that happens before the market phase. Plan/Forecast In this phase the System Operators take into account the utilization of their grid. Based on forecasts the Systems Operators checks the power flows to detect whether or not there will be possible congestion in the network. In case the grid capacity is insufficient to meet the forecasted electricity production or consumption, System Operators may resort to the flexibility market to resolve this type of issue. This phase is done for two different timeframes, day-ahead and intraday. On the one hand, the day-ahead forecasts are made for D-1. On the other hand, the intraday forecasts are made every 4 hours in order to improve the accuracy of the predicted flow of electricity that were made for the day-ahead. The objectives of this phase are to identify possible congestions in the network and to support the procurement in the flexibility markets. Market Phase The market phase starts after the system operators forecast network congestion. In this phase, the system operators are focused on collecting and selecting bids from FSPs. These bids can be in the day-ahead market, which occurs on D-1, in the intraday market, which occurs already inside D every 4 hours, or they can come from the long-term market (BUC-2). The intraday market is a complement to the day-ahead market. The possible failures or unforeseen events that were not covered in the day-ahead should be corrected in the intraday market. In the bid selection process, the SO should pay attention to whether the bid is located in its own network, or in another network. In the latter case, the SO should consult the SO where the bid is located so it can evaluate the constraints that may arise if the bid is accepted and activated. After this phase, the need arises to sort the accepted bids by a merit order list. This Business Use Case will address a multi-level market model. Monitoring and Activation This phase occurs after the list of bids sorted by a merit order is defined. The SO selects the bid it wants to activate, if the bid is located in the network of another SO, the latter should be consulted to validate the activation of this bid. If the SO's need is not resolved this process is repeated iteratively until the SO needs are solved.
1.5 Key performance indicators (KPI)
ID
Name
Description
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | 1- DSO Market Operator is an actor, being controlled by the DSO in the BUC. 2- TSO Market Operator is an actor, being controlled by the TSO in the BUC. 3- FSPs (Flexible Service Providers) is participating in BUC with their information.
| Prerequisites | FSPs exchange information with their resources. FSPs - Flexibility service provider - controls sufficient volume of flexibility resources and provides flexibility services to avoid grid congestion problems.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | WECL-PT-02, WECL-PT-03, SUC-01, SUC-02, SUC-03, SUC-04, SUC-05
| Level of depth | High level
Prioritisation
| Generic, regional or national relation | Generic
| Nature of the use case | Business Use Case
| Further keywords for classification | Congestion management, DSO-TSO Coordination, DSO-TSO Exchange of Information
1.8 General remarks
General remarks
2 Diagrams of use case
Diagram name
Diagram type
| Diagram URI type | BUC-1 Diagram | Prequalifiaction_1_SequenceDiagram | Plan_Forecast_ST | MarketPhase_ST | Activation
Diagram URI value
3 Technical details
3.1 Actors
Grouping
Group description
| Actor name | DSO | TSO | MO DSO | MO TSO | FSP
| Actor type | Role | Role | Role | Role | Role
| Actor description | According to the EDSO, the DSOs are “the operating managers (and sometimes owners) of energy distribution networks, operating at low, medium and, in some member states, high voltage levels (LV, MV)”. | According to the European Commission, the TSO is “an organisation committed to transporting energy in the form of natural gas or electrical power on a national or regional level, using fixed infrastructure”. The certification procedure for TSOs is listed in Article 10 of the 2009 Electricity and Gas Directives. | According to Article 2(7) of the Regulation (EU) 2019/943 of the European Parliament and of the Council of 5 June 2019 on the internal market for electricity (recast), market operator designates “an entity that provides a service whereby the offers to sell electricity are matched with bids to buy electricity”. | According to Article 2(7) of the Regulation (EU) 2019/943 of the European Parliament and of the Council of 5 June 2019 on the internal market for electricity (recast), market operator designates “an entity that provides a service whereby the offers to sell electricity are matched with bids to buy electricity”. | Defined as any legal entity that offers flexibility services in the market.
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
No.
| Scenario name | Prepare/Prequalification | Plan/Forecast | Market Phase | Monitoring & Activation
| Scenario description | The process in which it is checked whether a unit can deliver the product it intends to sell, taking into account the network conditions | Planning of grid utilization and identifying potential congestions. | Bids collection and selection, short-term contracts (capacity products) and short-term products/services (selection of energy products). | Grid monitoring and flexibility bids activation to solve the forecasted congestion management.
| Primary actor | DSO/TSO | DSO/TSO | DSO, TSO, MO DSO, MO TSO | DSO/TSO
| Triggering event | FSP/MO notifies the SO that he is interested in providing flexibility services. |  | FSP offers products
Pre-condition
Postcondition
4.2 Steps – Scenarios
| Scenario name: | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Plan/Forecast | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Market Phase | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation | Monitoring/Activation
| Step No. | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 1.1 | 1.11 | 1.12 | 1.13 | 1.14 | 1.15 | 1.16 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.28 | 1.29 | 1.3 | 1.31 | 1.32 | 1.33 | 1.34 | 1.35 | 1.36 | 1.37 | 1.38 | 1.39 | 1.4 | 1.41 | 1.42 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 2.1 | 2.11 | 2.12 | 2.13 | 2.14 | 2.15 | 2.16 | 2.17 | 2.18 | 2.19 | 2.2 | 2.21 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 3.1 | 3.11 | 3.12 | 3.13 | 3.14 | 3.15 | 3.16 | 3.17 | 3.18 | 3.19 | 3.2 | 4.1 | 4.2 | 4.3 | 4.4 | 4.5 | 4.6 | 4.7 | 4.8 | 4.9 | 4.1 | 4.11
| Event | 1.1: FSP requests to be pre-qualified
| Name of process/activity | Define the prequalification requirements | Send the prequalification requirements | Send the prequalification requirements | Notifies that he is interested in providing flexibility services. | Send the prequalification requirements | Forward the fulfilled prequalification requirements | Forward the fulfilled prequalification requirements | Evaluation of the Product & Grid prequalification requirements | Request additional prequalification information | Request additional prequalification information | Send additional prequalification information | Send additional prequalification information | Accept / Reject registration on Market | Notify of prequalification result | Notifies that he is interested in providing flexibility services. | Send the prequalification requirements | Forward the fulfilled prequalification requirements | Checks the Location of the FSP | Forward the fulfilled prequalification requirements | Evaluation of the Product & Grid prequalification requirements | Request additional prequalification information | Request additional prequalification information | Send additional prequalification information | Send additional prequalification information | Accept/Reject registration on Market | Notify of prequalification result | Forward the fulfilled prequalification requirements | Evaluation of the Product prequalification requirements | Request additional prequalification information | Request additional prequalification information | Send additional prequalification information | Send additional prequalification information | Accept/Reject registration on Market | Forward the fulfilled prequalification requirements | Evaluation of the Grid prequalification requirements | Request additional prequalification information | Request additional prequalification information | Send additional prequalification information | Send additional prequalification information | Accept/Reject registration on Market | Notify of prequalification result | Makes a forecast of possible congestion areas | Makes a forecast of possible congestion areas | Exchange information about possible congestion areas | Informs possible congestion areas | Informs possible congestion areas | Publish the possible congestion areas | Publish the possible congestion areas | Optimize Portfolio | Makes a forecast of the grid status. Check power flows. Detect possible congestions System reconfiguration Assesses the amount of flexibility required | Makes a forecast of the grid status. Check power flows. Detect possible congestions System reconfiguration Assesses the amount of flexibility required | Exchange information about the amount of flexibility required | Makes a forecast of possible congestion areas | Makes a forecast of possible congestion areas | Informs possible congestion areas | Informs possible congestion areas | Publish the possible congestion areas | Publish the possible congestion areas | Optimize Portfolio | Makes a forecast of the grid status. Check power flows. Detect possible congestions System reconfiguration Assesses the amount of flexibility required | Makes a forecast of the grid status. Check power flows. Detect possible congestions System reconfiguration Assesses the amount of flexibility required | Exchange information about the amount of flexibility required | Offer active power flexibility products. Sends the baselines. | Offer active power flexibility products. Sends the baselines. | Informs the amount of flexibility required | Informs the amount of flexibility required | Bids Selection | Selects the bids that may be a solution | Send the bids | Technical evaluation of the bids. Accept bids. Sort the bids by a merit order list. | Send the accepted/rejected bids | Notifies the result | Selects the bids that may be a solution | Send the bids | Technical evaluation of the bids. Accept bids. Sort the bids by a merit order list. | Send the accepted/rejected bids | Check the Location of the bids | Notifies the result | Send the information of the bid | Evaluates grid constraints | Accept/Reject bid | Notifies the result | Sharing of accepted bids | Checks grid constrains | Informs what Bids can/cannot be activated | Checks grid constrains | Informs what Bids can/cannot be activated | Allows/Not allow bid activation | Allows/Not allow bid activation | Informs the result | Informs the result | Informs the activation of the bid | Informs the activation of the bid
| Description of process/activity |  |  |  | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR DSO | FOR TSO | FOR TSO | FOR TSO | FOR TSO | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Transmission Grid | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | FOR TSO. If the FSP is connected to the Distribution Grid. | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Before Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | Day-Ahead Market. Flexibility Market Opening | [5 empty] | For DSO | For DSO | For DSO | For DSO | For DSO | For TSO | For TSO | For TSO | For TSO | For TSO | For TSO If the bid is connected to the Transmission Grid | For TSO If the bid is connected to the Distribution Grid | For TSO If the bid is connected to the Distribution Grid | For TSO If the bid is connected to the Distribution Grid | For TSO If the bid is connected to the Distribution Grid |  | For bids located in Distribution Grid | For bids located in Distribution Grid | For bids located in Transmission Grid | For bids located in Transmission Grid
Service
| Information producer (actor) | DSO&TSO | DSO | TSO | FSP | MO DSO | FSP | MO DSO | DSO | DSO | MO DSO | FSP | MO DSO | DSO | MO DSO | FSP | MO TSO | FSP | MO TSO | MO TSO | TSO | TSO | MO TSO | FSP | MO TSO | TSO | MO TSO | MO TSO | TSO | TSO | MO TSO | FSP | MO TSO | TSO | MO TSO | DSO | DSO | MO TSO | FSP | MO TSO | DSO | MO TSO | DSO | TSO | DSO/TSO | DSO | TSO | MO DSO | MO TSO | FSP | DSO | TSO | DSO/TSO | DSO | DSO | DSO | TSO | MO DSO | MO TSO | FSP | DSO | TSO | DSO/TSO | FSP | FSP | DSO | TSO | MO DSO/ MO TSO | MO DSO | MO DSO | DSO | DSO | MO DSO | MO TSO | MO TSO | TSO | TSO | MO TSO | MO TSO | MO TSO | DSO | DSO | MO TSO | DSO/TSO | DSO | DSO | TSO | TSO | DSO | TSO | MO DSO | MO TSO | FSP | FSP
| Information receiver (actor) |  | MO DSO | MO TSO | MO DSO | FSP | MO DSO | DSO | DSO | MO DSO | FSP | MO DSO | DSO | MO DSO | FSP | MO TSO | FSP | MO TSO | MO TSO | TSO | TSO | MO TSO | FSP | MO TSO | TSO | MO TSO | FSP | TSO | TSO | MO TSO | FSP | MO TSO | TSO | MO TSO | DSO | DSO | MO TSO | FSP | MO TSO | DSO | MO TSO | FSP | DSO | TSO | DSO/TSO | MO DSO | MO TSO | FSP | FSP | FSP | DSO | TSO | DSO/TSO | DSO | DSO | MO DSO | MO TSO | FSP | FSP | FSP | DSO | TSO | DSO/TSO | MO DSO | MO TSO | MO DSO | MO TSO | MO DSO/ MO TSO | MO DSO | DSO | DSO | MO DSO | FSP | MO TSO | TSO | TSO | MO TSO | MO TSO | FSP | DSO | DSO | MO TSO | FSP | DSO/TSO | DSO | TSO | TSO | DSO | MO DSO | MO TSO | FSP | FSP | MO DSO | MO TSO
| Information exchanged (IDs) | 1.2: Info1; 1.3: Info1; 1.5: Info1; 1.7: Info2; 1.13: Info3; 1.16: Info1; 1.19: Info4; 1.25: Info5; 1.28: Info4; 1.34: Info5; 1.35: Info6; 1.41: Info7; 2.3: Info8; 2.4: Info9; 2.5: Info10; 2.11: Info11; 2.14: Info8; 2.15: Info9; 2.21: Info11; 3.3: Info12; 3.4: Info13; 3.7: Info14; 3.9: Info15; 3.12: Info16; 3.14: Info17; 3.17: Info18; 3.19: Info19; 4.1: Info20; 4.3: Info21; 4.5: Info22; 4.6: Info23; 4.7: Info24
Reference to Scenario number
5 Information exchanged | Requirement, R-Ids | 1.2: Info1; 1.4: Info1; 1.6: Info4; 1.9: Info8; 1.1: Info8; 1.12: Info11; 1.13: Info11; 1.15: Info14; 1.17: Info16; 1.21: Info20; 1.22: Info20
| Information exchanged, ID | Info1 | Info2 | Info3 | Info4 | Info5 | Info6 | Info7 | Info8 | Info9 | Info10 | Info11 | Info12 | Info13 | Info14 | Info15 | Info16 | Info17 | Info18 | Info19 | Info20 | Info21 | Info22 | Info23 | Info24
| Name of information | Prequalification requirements | Fulfilled prequalification requirements | Accept / Reject registration on Market | Fulfilled prequalification requirements | Accept / Reject registration on Market | Fulfilled prequalification requirements | Accept / Reject registration on Market | Possible congestion areas | Possible congestion areas | Possible congestion areas | Amount of flexibility required | Informs the amount of flexibility required | Informs the amount of flexibility required | Sends the bids | Send the accepted/rejected bids | Sends the bids | Send the accepted/rejected bids | Send the information of the bid | Accept/Reject bid | Sharing of accepted bids | Informs what Bids can/cannot be activated | Informs what Bids can/cannot be activated | Allows/Not allow bid activation | Allows/Not allow bid activation
| Description of information exchanged |  Mode of activation (If it is Automatic should be tested)  Minimum Quantity (0.01 MW – 1 MW)  Flexibility direction (load/generation reduction/increase, both)  Locational information and SO connected  Maximum duration of delivery period offer  Single or Aggregated portfolio  Capacity/Energy  Maximum Full Activation time (60 minutes) | For DSO. MO DSO -> DSO | For DSO. DSO->MO DSO | For TSO. MO TSO->TSO | For TSO. TSO->MO TSO | For TSO (in the Distribution Grid). MO TSO->DSO | For TSO (in the Distribution Grid). DSO -> MO TSO | DSO<->TSO. Grid areas where congestion may occur | DSO->MO DSO. Grid areas where congestion may occur | TSO->MO TSO. Grid areas where congestion may occur | DSO<->TSO. Flexibility quantity (MW) | DSO->MO DSO. Flexibility quantity (MW) | TSO->MO TSO. Flexibility quantity (MW) | For DSO. MO DSO->DSO. Characterization of the Bid (information, parameters, eg. Price, location, quantity) | For DSO. DSO-> MO DSO. Bid ID and result (accepted/rejected) | For TSO. MO TSO->TSO. For DSO. DSO-> MO DSO. Characterization of the Bid (information, parameters, eg. Price, location, quantity) | For TSO. TSO-> MO TSO. Bid ID and result (accepted/rejected) | For TSO. TSO->MO DSO. For DSO. DSO-> MO DSO. Characterization of the Bid (information, parameters, eg, location, quantity) | For TSO. DSO->MO TSO. Bid ID and result (accepted/rejected) | DSO<->TSO Characterization of the Bid (information, parameters, eg. Price, location, quantity) | DSO->TSO. Bid ID and result (accepted/rejected) | TSO->DSO. Bid ID and result (accepted/rejected) | DSO->MO DSO. Bid ID and result (accepted/rejected) | DSO->MO DSO. Bid ID and result (accepted/rejected)

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.